APAR Industries Ltd.

Fastest Finger First – B2B Distributor Meet

Theme: House Wires • LT/HT Cables • Solar & Fire Safety Cables

Duration: 45 Minutes
Format: Fun + Technical Rapid Fire Activity
Participants: B2B Distributors Teams

Sample 3 Questions:

1. Which team did RCB defeat in the IPL 2026 Final?
A) Chennai Super Kings
B) Gujarat Titans
C) Mumbai Indians
D) Kolkata Knight Riders

Answer: B) Gujarat Titans

2. Which planet is known as the Red Planet?
A) Venus
B) Jupiter
C) Mars
D) Saturn

Answer: C) Mars

3.What can travel around the world while staying in one corner?
A) Airplane
B) Satellite
C) Stamp
D) Compass
✅ Answer: C) Stamp

Round 1

Q1

What is the full form of XLPE?
A. Cross Linked Polyethylene
B. Cross Layered Power Element
C. Extra Low Polyethylene
D. Cross Linked Plastic Elastomer

Answer: A

Q2

Which cable property helps reduce smoke during fire?
A. High Voltage
B. LSZH Compound
C. Steel Armour
D. Copper Tape

Answer: B

Q3

Which conductor carries higher current?
A. Solid conductor
B. Flexible stranded conductor
C. Aluminium foil
D. Single strand steel

Answer: B

Q4

What is the purpose of armouring in cables?
A. Decoration
B. Current carrying
C. Mechanical protection
D. Reduce cable size

Answer: C

Q5

Which insulation is preferred in LT Power Cables?
A. Paper
B. Cotton

C. Rubber tape
D. XLPE

Answer: D

Q6

What does FRLSH stand for?

A. Flame Retardant Low Smoke Halogen
B. Fire Resistant Low Sodium Halogen
C. Fast Response Low Smoke Heat
D. Flame Resistant Low Solder Halogen

Answer: A

Q7

Which test checks insulation resistance of cable?
A. Heat Test
B. Bend Test
C. Spark Test

D. Megger Test

Answer: D

Q8. In which year was APAR Industries founded?

A. 1947
B. 1958
C. 1968
D. 1975

Answer: B

Q9. APAR Industries is globally known as the No. 1 manufacturer of which product?

A. Power Transformers
B. Solar Panels

C. Aluminum & Alloy Conductors
D. Switchgear

Answer: C

Q10. Which of the following is NOT a major APAR business division?

A. Conductors
B. Specialty Oils
C. Power & Telecom Cables
D. Cement Manufacturing

Answer: D

Round 2

Q1

Why mica tape is used in fire survival cables?
A. Decoration
B. Waterproofing
C. Circuit integrity during fire
D. Increase flexibility

Answer: C

Q2

What is cable ampacity?
A. Cable weight
B. Current carrying capacity
C. Voltage drop
D. Cable diameter

Answer: B

Q3

Which material produces less toxic smoke during fire?
A. PVC
B. LSZH
C. Rubber
D. Cotton

Answer: B

Q4

Why are semiconducting layers used in HT cables?
A. To increase current carrying capacity
B. To control electric stress uniformly
C. To reduce cable weight
D. To improve appearance

Answer: B

Q5

What happens if a cable is continuously overloaded?
A. Cable becomes more flexible
B. Improved insulation life
C. Insulation damage, overheating and fire risk
D. Reduced voltage drop

Answer: C

Q6

Why is electric stress maximum near the conductor?
A. Because conductor radius is smallest there
B. Because insulation is thickest there
C. Because armour is present
D. Because voltage is lowest there

Answer: A

Q7

What is the advantage of round wire armouring over strip armouring?
A. Lower cost only
B. Better appearance
C. Better flexibility and mechanical protection
D. Lower voltage drop

Answer: C

Q8. APAR’s corporate headquarters is located in:

A. Delhi
B. Ahmedabad
C. Mumbai
D. Pune

Answer: C

Q9. APAR exports its products to approximately:

A. 25 Countries
B. 50 Countries
C. 100 Countries
D. 140+ Countries

Answer: D

Q10. Who is the Brand Ambassador of APAR Industries Limited?

A. Virat Kohli
B. Sonu Sood
C. Ranbeer Kapoor
D. Neeraj Chopra

Answer: B

Round 3

Q1

What is the key difference between a fire alarm cable and a fire survival cable?
A. Fire survival cable maintains circuit integrity during fire
B. No difference
C. Fire alarm cable carries higher current
D. Fire alarm cable is always armoured

Answer: A

Q2

Why are stranded conductors preferred over solid conductors?
A. Lower conductivity
B. Better flexibility and easier installation
C. Higher resistance
D. Lower insulation requirement

Answer: B

Q3

Why is armour grounding necessary?
A. For safety against fault current and electric shock
B. For cable identification
C. To improve flexibility
D. To reduce cable size

Answer: A

Q4

What is Partial Discharge (PD)?
A. Localized electrical discharge inside insulation

B. Complete cable failure
C. Voltage drop in cable
D. Conductor heating

Answer: A

Q5

Why are LSZH cables important in buildings?
A. They are cheaper
B. They have higher weight
C. Low smoke and low toxic gas emission during fire
D. They increase voltage

Answer: C

Q6

What is electrical treeing?
A. Plant growth on cables
B. Insulation deterioration due to electrical stress
C. Mechanical damage to armour
D. Corrosion of conductor

Answer: B

Q7

Which insulation material offers better thermal performance for power cables?

A. Cotton

B. PVC

C. XLPE

D. Paper

Answer: C

Q8

Which conductor in modern buildings may experience overheating due to harmonic currents?

A. Earth conductor

B. Armour wire

C. Pilot conductor

D. Neutral conductor

Answer: D

Q9. APAR’s Cable Division manufacturing plants are located at:

A. Rabale & Silvassa
B. Mumbai & Vadodara
C. Umbergaon & Khatalwada K1 ,K2
D. Chennai & Bengaluru

Answer: C

Q10. Which APAR division manufactures HTLS conductors?

A. Cable Division
B. Telecom Division
C. Conductor Division
D. Oil Division

Answer: C

Round 4

Q1

What is the primary function of a cable sheath?

A. Decoration

B. Mechanical & environmental protection

C. Increase current capacity

D. Reduce voltage

Answer: B

Q2

Which wiring mistake can create a serious electrical safety hazard?

A. Using stranded conductor

B. Using XLPE insulation

C. Reversing live and neutral

D. Using copper conductor

Answer: C

Q3

What is the main difference between FRLSH and LSZH cables?

A. FRLSH focuses on flame retardancy; LSZH focuses on low smoke & halogen-free performance

B. They are exactly the same

C. LSZH is only for HT cables

D. FRLSH is only for solar cables

Answer: A

Q4

Which facility typically requires Fire Survival Cables?

A. Residential garden

B. Metro station

C. Farm fencing

D. Street lighting

Answer: B

Q5

Which IS standard is applicable for LT XLPE Power Cables?

A. IS 694

B. IS 1554

C. IS 7098

D. IS 9968

Answer: C

Q6

Which IS standard is commonly used for House Wires?

A. IS 7098

B. IS 694

C. IS 1554

D. IS 14255

Answer: B

Q7

What is the biggest advantage of E-Beam cable technology?

A. Higher temperature resistance

B. Lower conductor cost

C. Better colour retention

D. Lower cable weight

Answer: A

Q8

Which cable type is generally used for voltage levels above 33 kV?

A. XLPE EHT Cable

B. House Wire

C. PVC Flexible Cable

D. Instrumentation Cable

Answer: A

Q9. APAR’s testing laboratories are accredited by which Organization.

A. RTRC
B. KC INDIA
C. NABL
D. IEC

Answer: C

Q10. How many manufacturing facilities does APAR currently operate Locally & Globally?

A. 5
B. 8
C. 11
D. 20

Answer: C

Suggested Closing Line

“Today’s winners are not just fast with fingers — they are fast with knowledge. Thank you for being valuable channel partners of APAR Industries Ltd..”